## Ni-PYC-NH Xe 278K
| Quantachrome® | ASiQwin™- |  | Automated |  | Gas | Sorption | Data
| Acquisition | and |  | Reduction
| © | 1994-2013, |  | Quantachrome |  | Instruments
| version | 3.01
Analysis | Report
Operator: | WE17552 | Date:2020/07/10 |  | Operator: |  | WE17552 | Date:2020/07/14
Sample | ID: | Ni-PYC-NH2 |  | Filename: |  | 070920_Ni-PYC-NH2_Xe_278K.qps
Sample | Desc: | Comment: |  | 160C |  | for | 24h
Sample | Weight: | 0.0426 |  | g |  | Instrument: | Autosorb | iQ | Station | 2
Outgas | Time: | 24 |  | hrs |  | Outgas | Temp.: | 160 | °C
Analysis | gas: | Xe278 |  | Non-ideality: |  | 8.579e-06 | 1/Torr | CellType: | 6mm | w/o | rod
Analysis | Time: | 2:47 |  | hr:min |  | Bath | temp.: | 278 | K
Analysis | Mode: | Standard |  | VoidVol |  | Remeasure:off
VoidVol. | Mode: | He |  | Measure |  | Cold | Zone | V: | 0.40525 | cc | Warm | Zone | V: | 15.7305 | cc
| Press | P0 |  | Volume |  | @ | STP | Time | Tol | Equ
| Torr | Torr | p/p0 | cc | mmol/g | min
| 42.6303 | 760 | 0.056092 | 0.02437 | 0.025539 | 9.9 | 3 | 2
| 61.5037 | 760 | 0.080926 | 0.051627 | 0.054103 | 12.7 | 3 | 2
| 80.4707 | 760 | 0.10588 | 0.089722 | 0.094025 | 15.6 | 3 | 2
| 98.4952 | 760 | 0.1296 | 0.15166 | 0.15893 | 19.6 | 3 | 2
| 115.869 | 760 | 0.15246 | 0.28667 | 0.30042 | 28.3 | 3 | 2
| 134.597 | 760 | 0.1771 | 0.42903 | 0.4496 | 37.4 | 3 | 2
| 153.785 | 760 | 0.20235 | 0.56737 | 0.59458 | 46.4 | 3 | 2
| 190.842 | 760 | 0.25111 | 0.74591 | 0.78168 | 56.9 | 3 | 2
| 229.744 | 760 | 0.30229 | 0.89334 | 0.93618 | 65.5 | 3 | 2
| 268.595 | 760 | 0.35341 | 0.99826 | 1.0461 | 71.3 | 3 | 2
| 306.766 | 760 | 0.40364 | 1.0929 | 1.1453 | 76.6 | 3 | 2
| 345.356 | 760 | 0.45442 | 1.1694 | 1.2255 | 80.6 | 3 | 2
| 383.293 | 760 | 0.50433 | 1.244 | 1.3036 | 84.6 | 3 | 2
| 421.9 | 760 | 0.55513 | 1.3035 | 1.366 | 87.5 | 3 | 2
| 459.82 | 760 | 0.60503 | 1.3648 | 1.4302 | 90.5 | 3 | 2
| 497.858 | 760 | 0.65508 | 1.4199 | 1.488 | 93.2 | 3 | 2
| 535.837 | 760 | 0.70505 | 1.4739 | 1.5446 | 95.8 | 3 | 2
| 573.897 | 760 | 0.75513 | 1.5278 | 1.6011 | 98.6 | 3 | 2
| 612.055 | 760 | 0.80534 | 1.5818 | 1.6577 | 101.4 | 3 | 2
| 649.95 | 760 | 0.8552 | 1.6313 | 1.7095 | 104 | 3 | 2
| 688.015 | 760 | 0.90528 | 1.6805 | 1.7611 | 106.6 | 3 | 2
| 726.07 | 760 | 0.95536 | 1.7305 | 1.8135 | 109.5 | 3 | 2
| 760.273 | 760 | 1.0004 | 1.7772 | 1.8625 | 112.6 | 3 | 2
| 750.611 | 760 | 0.98765 | 1.799 | 1.8852 | 116.2 | 3 | 2
| 681.038 | 760 | 0.8961 | 1.7737 | 1.8587 | 119.6 | 3 | 2
| 604.912 | 760 | 0.79594 | 1.7337 | 1.8169 | 123 | 3 | 2
| 528.538 | 760 | 0.69544 | 1.6903 | 1.7714 | 128.4 | 3 | 2
| 452.852 | 760 | 0.59586 | 1.642 | 1.7207 | 134.7 | 3 | 2
| 376.686 | 760 | 0.49564 | 1.5865 | 1.6626 | 140.9 | 3 | 2
| 300.466 | 760 | 0.39535 | 1.5257 | 1.5989 | 147.4 | 3 | 2
| 224.719 | 760 | 0.29568 | 1.4585 | 1.5285 | 153.8 | 3 | 2
| 148.445 | 760 | 0.19532 | 1.3814 | 1.4476 | 161 | 3 | 2
| 72.4452 | 760 | 0.095323 | 1.2955 | 1.3576 | 167.8 | 3 | 2

## Ni-PYC-NH Xe 278K re
| Quantachrome® | ASiQwin™- |  | Automated |  | Gas | Sorption | Data
| Acquisition | and |  | Reduction
| © | 1994-2013, |  | Quantachrome |  | Instruments
| version | 3.01
Analysis | Report
Operator: | WE17552 | Date:2020/07/13 |  | Operator: |  | WE17552 | Date:2020/07/14
Sample | ID: | Ni-PYC-NH2 |  | Filename: |  | 071320_Ni-PYC-NH2_Xe_278K_re.qps
Sample | Desc: | Comment: |  | 160C |  | for | 24h
Sample | Weight: | 0.0426 |  | g |  | Instrument: | Autosorb | iQ | Station | 2
Outgas | Time: | 24 |  | hrs |  | Outgas | Temp.: | 160 | °C
Analysis | gas: | Xe278 |  | Non-ideality: |  | 8.579e-06 | 1/Torr | CellType: | 6mm | w/o | rod
Analysis | Time: | 2:20 |  | hr:min |  | Bath | temp.: | 278 | K
Analysis | Mode: | Standard |  | VoidVol |  | Remeasure:off
VoidVol. | Mode: | He |  | Measure |  | Cold | Zone | V: | 0.32176 | cc | Warm | Zone | V: | 15.8305 | cc
| Press | P0 |  | Volume |  | @ | STP | Time | Tol | Equ
| Torr | Torr | p/p0 | cc | mmol/g | min
| 4.0781 | 760 | 0.0053659 | -0.01003 | -0.010511 | 13.4 | 3 | 2
| 6.0897 | 760 | 0.0080127 | -0.0087206 | -0.0091388 | 16.5 | 3 | 2
| 7.659 | 760 | 0.010078 | -0.0073619 | -0.0077149 | 19.2 | 3 | 2
| 15.2262 | 760 | 0.020034 | -0.001139 | -0.0011936 | 22.6 | 3 | 2
| 35.1017 | 760 | 0.046186 | 0.016295 | 0.017076 | 25.6 | 3 | 2
| 50.1919 | 760 | 0.066042 | 0.0348 | 0.036468 | 28.6 | 3 | 2
| 65.499 | 760 | 0.086183 | 0.05741 | 0.060163 | 31.5 | 3 | 2
| 80.7327 | 760 | 0.10623 | 0.081891 | 0.085818 | 34 | 3 | 2
| 99.1353 | 760 | 0.13044 | 0.11685 | 0.12245 | 37.1 | 3 | 2
| 118.037 | 760 | 0.15531 | 0.15477 | 0.16219 | 40 | 3 | 2
| 137.064 | 760 | 0.18035 | 0.19497 | 0.20432 | 42.9 | 3 | 2
| 156.009 | 760 | 0.20527 | 0.23676 | 0.24812 | 45.8 | 3 | 2
| 193.563 | 760 | 0.25469 | 0.29665 | 0.31088 | 49 | 3 | 2
| 231.307 | 760 | 0.30435 | 0.36832 | 0.38598 | 52.8 | 3 | 2
| 269.22 | 760 | 0.35424 | 0.44727 | 0.46872 | 57.1 | 3 | 2
| 307.245 | 760 | 0.40427 | 0.52241 | 0.54747 | 61.2 | 3 | 2
| 345.51 | 760 | 0.45462 | 0.58681 | 0.61495 | 64.5 | 3 | 2
| 383.028 | 760 | 0.50398 | 0.67102 | 0.7032 | 69.8 | 3 | 2
| 421.468 | 760 | 0.55456 | 0.73648 | 0.7718 | 73.4 | 3 | 2
| 459.659 | 760 | 0.60481 | 0.79346 | 0.83151 | 76.5 | 3 | 2
| 497.315 | 760 | 0.65436 | 0.86175 | 0.90307 | 80.5 | 3 | 2
| 535.605 | 760 | 0.70474 | 0.92201 | 0.96623 | 83.9 | 3 | 2
| 573.493 | 760 | 0.7546 | 0.98189 | 1.029 | 87.5 | 3 | 2
| 611.788 | 760 | 0.80498 | 1.0342 | 1.0838 | 90.4 | 3 | 2
| 649.767 | 760 | 0.85496 | 1.0877 | 1.1399 | 93.4 | 3 | 2
| 687.818 | 760 | 0.90502 | 1.1399 | 1.1945 | 96.4 | 3 | 2
| 725.712 | 760 | 0.95488 | 1.193 | 1.2503 | 99.5 | 3 | 2
| 759.733 | 760 | 0.99965 | 1.2382 | 1.2976 | 102.3 | 3 | 2
| 750.195 | 760 | 0.9871 | 1.2637 | 1.3243 | 105.8 | 3 | 2
| 680.914 | 760 | 0.89594 | 1.2477 | 1.3076 | 110.2 | 3 | 2
| 604.866 | 760 | 0.79588 | 1.2117 | 1.2698 | 113.9 | 3 | 2
| 528.802 | 760 | 0.69579 | 1.1743 | 1.2306 | 118 | 3 | 2
| 452.731 | 760 | 0.5957 | 1.1291 | 1.1832 | 121.8 | 3 | 2
| 376.323 | 760 | 0.49516 | 1.0793 | 1.131 | 125.8 | 3 | 2
| 300.375 | 760 | 0.39523 | 1.0281 | 1.0774 | 129 | 3 | 2
| 223.976 | 760 | 0.29471 | 0.97179 | 1.0184 | 132.6 | 3 | 2
| 148.085 | 760 | 0.19485 | 0.90986 | 0.95349 | 136.9 | 3 | 2
| 72.0133 | 760 | 0.094754 | 0.84382 | 0.88429 | 140.9 | 3 | 2

## Ni-PYC-NH Xe 278K actre
| Quantachrome® | ASiQwin™- |  | Automated |  | Gas | Sorption | Data
| Acquisition | and |  | Reduction
| © | 1994-2013, |  | Quantachrome |  | Instruments
| version | 3.01
Analysis | Report
Operator: | WE17552 | Date:2020/07/14 |  | Operator: |  | WE17552 | Date:2020/07/15
Sample | ID: | Ni-PYC-NH2 |  | Filename: |  | 071420_Ni-PYC-NH2_Xe_278K_actre.qps
Sample | Desc: | Comment: |  | 160C |  | for | 24h
Sample | Weight: | 0.0426 |  | g |  | Instrument: | Autosorb | iQ | Station | 2
Outgas | Time: | 24 |  | hrs |  | Outgas | Temp.: | 160 | °C
Analysis | gas: | Xe278 |  | Non-ideality: |  | 8.579e-06 | 1/Torr | CellType: | 6mm | w/o | rod
Analysis | Time: | 7:23 |  | hr:min |  | Bath | temp.: | 278 | K
Analysis | Mode: | Standard |  | VoidVol |  | Remeasure:off
VoidVol. | Mode: | He |  | Measure |  | Cold | Zone | V: | 0.42871 | cc | Warm | Zone | V: | 15.7523 | cc
| Press | P0 |  | Volume |  | @ | STP | Time | Tol | Equ
| Torr | Torr | p/p0 | cc | mmol/g | min
| 3.8042 | 760 | 0.0050056 | 0.32188 | 0.33732 | 144.3 | 3 | 2
| 6.0975 | 760 | 0.008023 | 0.55353 | 0.58008 | 242.6 | 3 | 2
| 7.5804 | 760 | 0.0099742 | 0.63925 | 0.66991 | 266 | 3 | 2
| 15.1904 | 760 | 0.019987 | 1.0485 | 1.0988 | 323.6 | 3 | 2
| 29.5047 | 760 | 0.038822 | 1.3053 | 1.3679 | 331.6 | 3 | 2
| 45.9728 | 760 | 0.060491 | 1.5094 | 1.5818 | 338.5 | 3 | 2
| 63.2033 | 760 | 0.083162 | 1.6295 | 1.7076 | 343.2 | 3 | 2
| 79.5952 | 760 | 0.10473 | 1.7062 | 1.788 | 346.6 | 3 | 2
| 98.4061 | 760 | 0.12948 | 1.771 | 1.8559 | 349.6 | 3 | 2
| 117.733 | 760 | 0.15491 | 1.8243 | 1.9118 | 352.4 | 3 | 2
| 137.009 | 760 | 0.18027 | 1.8692 | 1.9589 | 355.4 | 3 | 2
| 156.052 | 760 | 0.20533 | 1.9075 | 1.9989 | 358.1 | 3 | 2
| 193.597 | 760 | 0.25473 | 1.9656 | 2.0598 | 360.7 | 3 | 2
| 231.77 | 760 | 0.30496 | 2.0195 | 2.1164 | 363.3 | 3 | 2
| 269.929 | 760 | 0.35517 | 2.0695 | 2.1688 | 366.1 | 3 | 2
| 308.007 | 760 | 0.40527 | 2.116 | 2.2174 | 368.8 | 3 | 2
| 346.08 | 760 | 0.45537 | 2.1606 | 2.2643 | 371.4 | 3 | 2
| 384.078 | 760 | 0.50537 | 2.2033 | 2.309 | 374 | 3 | 2
| 422.076 | 760 | 0.55536 | 2.2462 | 2.3539 | 376.8 | 3 | 2
| 460.158 | 760 | 0.60547 | 2.2869 | 2.3966 | 379.4 | 3 | 2
| 498.202 | 760 | 0.65553 | 2.3274 | 2.439 | 382.1 | 3 | 2
| 536.109 | 760 | 0.70541 | 2.3679 | 2.4815 | 384.8 | 3 | 2
| 574.243 | 760 | 0.75558 | 2.4058 | 2.5211 | 387.5 | 3 | 2
| 612.261 | 760 | 0.80561 | 2.4451 | 2.5624 | 390.5 | 3 | 2
| 650.247 | 760 | 0.85559 | 2.4838 | 2.6029 | 393.5 | 3 | 2
| 688.166 | 760 | 0.90548 | 2.524 | 2.645 | 396.6 | 3 | 2
| 726.049 | 760 | 0.95533 | 2.5625 | 2.6853 | 399.4 | 3 | 2
| 760.388 | 760 | 1.0005 | 2.5997 | 2.7244 | 402.2 | 3 | 2
| 751.501 | 760 | 0.98882 | 2.5966 | 2.7211 | 405.2 | 3 | 2
| 681.294 | 760 | 0.89644 | 2.5453 | 2.6674 | 409.3 | 3 | 2
| 605.705 | 760 | 0.79698 | 2.4821 | 2.6011 | 413.5 | 3 | 2
| 529.693 | 760 | 0.69696 | 2.4151 | 2.5309 | 417 | 3 | 2
| 453.829 | 760 | 0.59714 | 2.343 | 2.4554 | 420.4 | 3 | 2
| 376.967 | 760 | 0.49601 | 2.2683 | 2.3771 | 424 | 3 | 2
| 301.28 | 760 | 0.39642 | 2.1905 | 2.2956 | 427.1 | 3 | 2
| 224.743 | 760 | 0.29571 | 2.1011 | 2.2019 | 432 | 3 | 2
| 148.983 | 760 | 0.19603 | 2.0008 | 2.0968 | 437.6 | 3 | 2
| 73.4299 | 760 | 0.096618 | 1.8665 | 1.956 | 443.7 | 3 | 2

## Ni-PYC-NH Xe 298K
| Quantachrome® | ASiQwin™- |  | Automated |  | Gas | Sorption | Data
| Acquisition | and |  | Reduction
| © | 1994-2013, |  | Quantachrome |  | Instruments
| version | 3.01
Analysis | Report
Operator: | WE17552 | Date:2020/07/09 |  | Operator: |  | WE17552 | Date:2020/07/14
Sample | ID: | Ni-PYC-NH2 |  | Filename: |  | 070920_Ni-PYC-NH2_Xe_298K.qps
Sample | Desc: | Comment: |  | 160C |  | for | 24h
Sample | Weight: | 0.0426 |  | g |  | Instrument: | Autosorb | iQ | Station | 2
Outgas | Time: | 24 |  | hrs |  | Outgas | Temp.: | 160 | °C
Analysis | gas: | Xe298K |  | Non-ideality: |  | 7.028e-06 | 1/Torr | CellType: | 6mm | w/o | rod
Analysis | Time: | 3:38 |  | hr:min |  | Bath | temp.: | 298 | K
Analysis | Mode: | Standard |  | VoidVol |  | Remeasure:off
VoidVol. | Mode: | He |  | Measure |  | Cold | Zone | V: | 0.077339 | cc | Warm | Zone | V: | 16.0816 | cc
| Press | P0 |  | Volume |  | @ | STP | Time | Tol | Equ
| Torr | Torr | p/p0 | cc | mmol/g | min
| 36.4657 | 760 | 0.047981 | 0.97225 | 1.0189 | 50.8 | 3 | 2
| 58.4174 | 760 | 0.076865 | 1.4826 | 1.5537 | 71.4 | 3 | 2
| 76.9275 | 760 | 0.10122 | 1.6758 | 1.7562 | 81 | 3 | 2
| 96.7659 | 760 | 0.12732 | 1.8113 | 1.8981 | 88.7 | 3 | 2
| 116.882 | 760 | 0.15379 | 1.8991 | 1.9902 | 94.3 | 3 | 2
| 136.399 | 760 | 0.17947 | 1.9653 | 2.0596 | 99 | 3 | 2
| 155.835 | 760 | 0.20505 | 2.0156 | 2.1123 | 102.9 | 3 | 2
| 193.555 | 760 | 0.25468 | 2.08 | 2.1798 | 107 | 3 | 2
| 231.912 | 760 | 0.30515 | 2.1297 | 2.2318 | 110.5 | 3 | 2
| 270.164 | 760 | 0.35548 | 2.1707 | 2.2748 | 113.5 | 3 | 2
| 308.271 | 760 | 0.40562 | 2.2037 | 2.3093 | 116.3 | 3 | 2
| 346.495 | 760 | 0.45591 | 2.2307 | 2.3377 | 118.8 | 3 | 2
| 384.398 | 760 | 0.50579 | 2.2596 | 2.368 | 121.9 | 3 | 2
| 422.669 | 760 | 0.55614 | 2.2806 | 2.3899 | 124.5 | 3 | 2
| 460.704 | 760 | 0.60619 | 2.302 | 2.4124 | 127.2 | 3 | 2
| 498.739 | 760 | 0.65624 | 2.32 | 2.4312 | 129.8 | 3 | 2
| 536.736 | 760 | 0.70623 | 2.3405 | 2.4527 | 133.3 | 3 | 2
| 574.726 | 760 | 0.75622 | 2.359 | 2.4721 | 136.5 | 3 | 2
| 612.809 | 760 | 0.80633 | 2.3758 | 2.4897 | 139.8 | 3 | 2
| 650.894 | 760 | 0.85644 | 2.3906 | 2.5052 | 143.2 | 3 | 2
| 688.836 | 760 | 0.90636 | 2.4093 | 2.5248 | 146.5 | 3 | 2
| 726.938 | 760 | 0.9565 | 2.4234 | 2.5396 | 149.8 | 3 | 2
| 761.099 | 760 | 1.0014 | 2.4388 | 2.5558 | 153.2 | 3 | 2
| 751.357 | 760 | 0.98863 | 2.4484 | 2.5658 | 156.5 | 3 | 2
| 680.734 | 760 | 0.8957 | 2.4545 | 2.5722 | 163.3 | 3 | 2
| 604.737 | 760 | 0.79571 | 2.4495 | 2.567 | 169.8 | 3 | 2
| 529.028 | 760 | 0.69609 | 2.4373 | 2.5541 | 176.2 | 3 | 2
| 452.261 | 760 | 0.59508 | 2.4205 | 2.5366 | 182.5 | 3 | 2
| 376.597 | 760 | 0.49552 | 2.4022 | 2.5174 | 188.7 | 3 | 2
| 300.25 | 760 | 0.39507 | 2.3743 | 2.4881 | 195.6 | 3 | 2
| 223.918 | 760 | 0.29463 | 2.3386 | 2.4508 | 203 | 3 | 2
| 148.242 | 760 | 0.19506 | 2.2891 | 2.3989 | 210.9 | 3 | 2
| 72.7736 | 760 | 0.095755 | 2.2159 | 2.3222 | 218.1 | 3 | 2